## Slide 1
SMALL-SCALE WIND
TURBINE GENERATOR
An integrated and controlled system that pairs a mechanical gear train with an electronic controller, so the electricity it generates is stored, used, or safely shed.
VCE SYSTEMS ENGINEERING | SCHOOL-ASSESSED TASK 2026
Sifan | Unit 3 and 4 Systems Engineering

## Slide 2
The problem and the ethical consideration
CRITERION 1 | INVESTIGATING AND DEFINING A PROBLEM
VCE Systems Engineering | School-assessed Task
2
1
The problem this system responds to
Rural blocks and outer-suburban properties in Victoria often sit on land with steady wind, yet almost all of the wind generation in Australia is locked up in commercial wind farms. A household that wants to offset part of its own consumption has no realistic small-scale option: packaged micro-turbines are expensive, and a bare generator on a pole produces electricity that nobody can control or store safely.
2
Ethical consideration: environmental sustainability
Generating electricity from wind instead of fossil fuel reduces the carbon released for every kilowatt hour a household uses. The obligation is not only to generate cleanly, though. A system that wastes materials, cannot be repaired, or ends up in landfill after a season shifts the harm rather than removing it. This design is therefore judged on three sustainability grounds at once:
Clean generation: displaces grid electricity that is still partly fossil fuelled
Low-waste manufacture: printed parts, standard fasteners, no adhesives that block repair
Controlled use: surplus is stored or shed deliberately, never dumped into an unprotected battery
Close to 40%
of Australia's electricity came from renewable sources in 2023 (Clean Energy Council, 2024)
25 W
target electrical output from this system in a 6 m/s wind
$180
budget ceiling for the whole build, so the design stays reproducible

## Slide 3
Context, constraints and considerations
CRITERION 1 | INVESTIGATING AND DEFINING A PROBLEM
VCE Systems Engineering | School-assessed Task
3
1
Context
A residential or rural block with open ground on at least one side and a mean wind speed near 5 to 6 m/s
Mounted on a 3 m pole, clear of foot traffic, roof lines and overhanging trees
Output feeds a 12 V battery bank, a low-power direct load, or a resistive dump load
Operated by a household, not a technician, so nothing routine should require tools
2
Constraints
Total build cost must stay at or under $180
Rotor diameter capped at 1.2 m by the mounting position and by what one person can lift
Low-voltage DC only, no mains wiring, in line with AS/NZS 3000:2018
Fabrication limited to the school workshop: 3D printing, hand tools and a drill press
Ten teaching weeks from design freeze to evaluation
3
Considerations
Noise and vibration carried down the tower into the mount
Weather ingress into the gearbox and the controller enclosure
Overspeed in gusts, and over-voltage reaching the battery
Recyclability of every printed part and of the battery at end of life
Ease of getting at the gear train for inspection

## Slide 4
Research that shaped the design
CRITERION 1 | INVESTIGATING AND DEFINING A PROBLEM
VCE Systems Engineering | School-assessed Task
4
Source | What was investigated | What was learned | How it changed the design
Bureau of Meteorology climate data for the site (2024) | Mean and seasonal wind speed at 10 m, and how often the wind drops below 3 m/s | The site averages roughly 5 to 6 m/s, but sits under 3 m/s for long stretches in summer | Confirmed that a direct-drive rotor would spend most of the year below the generator's useful speed, so a step-up gear train is needed
Manwell, McGowan and Rogers (2009), Wind energy explained | The relationship between rotor speed, wind speed and power capture | A three-blade rotor works best at a tip speed ratio near 5, and power rises with the cube of wind speed | Set the design point at 6 m/s and a tip speed ratio of 5, which fixes the rotor speed the gear train has to work from
Betz (1966) limit and published rotor efficiencies | The maximum share of wind energy any rotor can convert | No rotor exceeds 59.3 per cent, and a small printed rotor realistically reaches about 30 per cent | Kept the output target at a defensible 25 W rather than an optimistic figure that testing would never meet
Safe Work Australia (2020) and AS/NZS 3000:2018 | How to rate and control the hazards of a rotating, electrically live outdoor build | Risk must be controlled by the hierarchy of control, and low-voltage DC avoids the mains wiring rules entirely | Locked the system to low-voltage DC, and made a guarded gearbox and a fused output non-negotiable

## Slide 5
Design brief and evaluation criteria
CRITERION 1 | INVESTIGATING AND DEFINING A PROBLEM
VCE Systems Engineering | School-assessed Task
5
DESIGN BRIEF
Design, produce and test a small-scale wind turbine generator for a residential or rural block. The system must convert wind into shaft rotation, step that rotation up through a gear train so a low-cost DC generator reaches a useful speed, and use an electronic controller to direct the electricity produced to battery storage, to a direct load, or to a dump load. It must be built for under $180 from low-impact, mostly recyclable materials, run entirely on low-voltage DC, and be safe for a household to operate.
# | Evaluation criterion | Measurable target | How it will be tested
EC1 | Generate a usable DC output in moderate wind | At least 12 V open circuit at 6 m/s | Multimeter across the DC bus while the rotor is driven at the design speed
EC2 | Step the generator speed up mechanically | Measured step-up ratio of 2.4 : 1, within 5 per cent | Optical tachometer on both shafts, ten runs averaged
EC3 | Direct the output to three destinations | Battery, direct load and dump load each switch on demand | Sweep the bus voltage and log which path carries current at each step
EC4 | Protect the battery from overcharge | Charging stops above 14.4 V and resumes below 13.2 V | Bench supply on the sense input, record the switching thresholds
EC5 | Be safe to operate and to build | No reachable rotating part, no exposed conductor above 24 V, fused output | Guard inspection against the risk register, plus a continuity and fuse check
EC6 | Stay within budget | Total build cost at or under $180 | Sum the final materials list against receipts
EC7 | Use low-impact materials | At least 70 per cent of parts recyclable or reusable | Audit every line of the materials list by material type

## Slide 6
Mechanical subsystem: gear train options
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
6
Option | How it works | Strengths | Weaknesses
A Direct drive | The blade shaft couples straight onto the generator, with no gearing between them. | Fewest moving parts, no gear friction, nothing to align, quietest of the three | At the design wind speed the rotor turns near 480 rpm, well under the speed this generator needs for a useful voltage
B Single-stage spur gear step-up | A 24 tooth gear on the blade shaft drives a 10 tooth pinion on the generator shaft. | Lifts generator speed by 2.4 times, both gears print in one job, ratio is easy to change by reprinting one gear | Adds a meshing loss of roughly 3 per cent, and needs a housing, two bearings and accurate centre distance
C Two-stage gear train | Two gear pairs in series give a much larger overall step-up. | Reaches a high generator speed even in light wind, so it produces something on marginal days | Twice the parts and twice the friction, harder to align, and the extra drag raises the wind speed needed to start turning at all
Option B selected. The generator needs roughly 1000 rpm before it produces a useful voltage, and the rotor reaches about 480 rpm at the 6 m/s design point. A 2.4 : 1 step-up closes that gap with one gear pair. Option A never reaches the speed, and Option C buys speed the system does not need while adding friction that raises the cut-in wind speed.

## Slide 7
Electronic subsystem: controller options
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
7
Option | How it works | Strengths | Weaknesses
A Blocking diode only | A diode stops the battery discharging back through the generator. The battery charges whenever the rotor turns. | Cheapest possible, almost nothing to fail, no programming | No overcharge protection at all, and no way to choose between storing, using or shedding the output
B Manual switch selector | A rotary switch routes the current to the battery, a direct load or a dump-load resistor. | Gives real choice over how the electricity is used, and is simple to demonstrate | Only works while someone is watching it, so the battery is still exposed to overcharge overnight
C Microcontroller charge controller | The controller reads the bus and battery voltage through a divider and switches one of three output paths on. | Automatic, protects the battery on set thresholds, logs its own behaviour, and closes the control loop the brief asks for | Most components, needs programming and debugging, and a fault in the code can leave the battery unprotected
Option C selected. The design brief requires the system to decide how the generated electricity is used, and only Option C does that without a person present. It is also the only option that meets EC4, since it is the one that can stop charging at 14.4 V. The programming risk is managed by testing each switching threshold on a bench supply before the controller is ever connected to the turbine.

## Slide 8
Preferred design: the integrated system
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
8

## Slide 9
Input, process and output across the three subsystems
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
9

## Slide 10
Mechanical subsystem: the gear train
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
10
How it works
The rotor shaft carries a 24 tooth spur gear that meshes with a 10 tooth pinion on the generator shaft. Every turn of the rotor becomes 2.4 turns of the generator.
Why 24 and 10:
Ten teeth is the smallest pinion that prints cleanly at 2 mm module without the teeth undercutting. Pairing it with 24 teeth gives the 2.4 : 1 ratio the generator needs, and both gears fit inside a 120 mm housing.
Bearings:
Two sealed ball bearings carry the rotor shaft so the printed gear never takes a side load from the blades. Sealed units keep grit and water out of the mesh.
Trade-off accepted:
Torque at the generator falls by the same 2.4 times that speed rises. That is fine here, because the generator needs speed rather than torque, but it does raise the wind speed at which the rotor first breaks away.

## Slide 11
Exploded assembly view of the nacelle
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
11
Item numbers correspond to the materials list. The whole drive train slides onto one shaft, so the nose cone and gearbox cover come off for inspection without taking the nacelle off the tower.

## Slide 12
Electronic subsystem: controller circuit
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
12
Reading the circuit
1. Rectify. The generator output is rectified so current can only flow one way into the system.
2. Smooth.
A capacitor across the rails flattens the ripple, giving the controller a steady voltage to measure.
3. Sense.
A two-resistor divider scales the bus voltage down into the controller's input range, so a 20 V bus reads as about 2.6 V.
4. Switch.
Three switching devices sit between the bus and the battery, the direct load and the dump load. The controller closes exactly one at a time.
5. Protect.
A fuse in the positive rail clears a short before the wiring heats, and the dump load always gives the rotor somewhere to push current.

## Slide 13
Engineering calculations behind the design
CRITERION 2 | GENERATING AND DESIGNING
VCE Systems Engineering | School-assessed Task
13
1. Power available in the wind
Swept area A = πr² = π × 0.6² = 1.13 m²
P = ½ ρ A v³ = 0.5 × 1.225 × 1.13 × 6³
P = 150 W available at 6 m/s
Rotor diameter is fixed at 1.2 m by the mounting position.
2. Realistic electrical output
Betz limit: 150 × 0.593 = 89 W
Printed rotor at Cp = 0.30: 150 × 0.30 = 45 W
Drivetrain and generator at 55%: 45 × 0.55 = 25 W
This is where the 25 W target in EC1 comes from.
3. Rotor speed and gear ratio
At tip speed ratio λ = 5: ω = λv / r = 5 × 6 / 0.6 = 50 rad/s
N = 50 × 60 / 2π = 478 rpm at the rotor
Gear ratio = 24 / 10 = 2.4 : 1 → 478 × 2.4 = 1147 rpm
Meets the generator's need for roughly 1000 rpm.
4. Torque and gear tooth load
Rotor torque T = P / ω = 45 / 50 = 0.90 N·m
Driver gear pitch radius (2 mm module, 24 teeth) = 0.024 m
Tooth force F = T / r = 0.90 / 0.024 = 37.5 N
Well inside what a 12 mm wide printed PLA tooth carries.
5. Dump load sizing
Shed the full output at the 12 V bus:
R = V² / P = 12² / 25 = 5.8 Ω
Chosen: 5.6 Ω rated 50 W, so it runs at half its rating
Derating keeps the resistor surface temperature down.
6. Fuse and sense divider
Steady current I = P / V = 25 / 12 = 2.1 A → 3 A fuse
Divider for a 20 V worst case into a 3.3 V input:
68 kΩ and 10 kΩ → 20 × 10 / 78 = 2.6 V
Leaves headroom before the input is over-driven.

## Slide 14
Materials list and budget
CRITERION 3 | PLANNING
VCE Systems Engineering | School-assessed Task
14
# | Item | Material or specification | Qty | Cost
1 | Nose cone | 3D printed PLA | 1 | $2
2 | Blades | 3D printed PLA, 600 mm | 3 | $9
3 | Blade hub | 3D printed PLA | 1 | $3
4 | Main shaft | 8 mm bright steel rod, 200 mm | 1 | $6
5 | Bearings | 8 mm sealed ball bearing | 2 | $8
6 | Driver gear, 24 tooth | 3D printed PLA, 2 mm module | 1 | $2
7 | Pinion, 10 tooth | 3D printed PLA, 2 mm module | 1 | $1
8 | Gearbox housing and cover | 3D printed PLA on a plywood plate | 1 | $7
# | Item | Material or specification | Qty | Cost
9 | DC generator | Permanent magnet DC motor run as a generator | 1 | $18
10 | Base plate and tower | 25 mm steel tube, plywood base | 1 | $22
11 | Controller board | Microcontroller board and protoboard | 1 | $14
12 | Rectifier, capacitor, resistors, fuse | Passive components and holder | 1 set | $9
13 | Switching devices | Logic-level transistor with heatsink | 3 | $9
14 | Battery | 12 V 7 Ah sealed lead acid | 1 | $28
15 | Dump load resistor | 5.6 Ω, 50 W wirewound | 1 | $6
16 | Wiring, connectors, fasteners | Cable, terminals, M4 hardware | 1 set | $11
TOTAL BUILD COST
$155
against a $180 budget, leaving $25 for reprints and replacement parts
Sustainability audit: items 1, 2, 3, 6, 7 and 8 are printed PLA and can be reground. Items 4, 5, 9, 10 and 13 are metal and recyclable, and item 14 goes to a lead-acid recycler. Twelve of sixteen lines, or 75 per cent, are recyclable or reusable, which meets EC7.

## Slide 15
Work plan and milestones
CRITERION 3 | PLANNING
VCE Systems Engineering | School-assessed Task
15
Reading the chart: solid teal is complete, green is in progress, pale teal is still scheduled, diamonds are the five milestones and the dashed red line is the current week. Modelling and printing are front-loaded so a failed print surfaces before the electronics work starts, and testing gets two full weeks because wind conditions cannot be scheduled.

## Slide 16
Safety and risk assessment
CRITERION 3 | PLANNING
VCE Systems Engineering | School-assessed Task
16
ID | Hazard | Control measure | Hierarchy level
R1 | Blade or rotor strikes a person | Turbine mounted on a 3 m pole, out of reach, with rounded blade tips and a rotor lock for maintenance | Isolation
R2 | Gear train traps fingers | The mesh runs inside a closed printed housing that needs a tool to open | Engineering
R3 | Battery overcharges, vents or overheats | Controller stops charging at 14.4 V, and a fused output limits fault current | Engineering
R4 | Rotor overspeeds in a gust | Dump load absorbs surplus energy and brakes the rotor electrically as the bus voltage climbs | Engineering
R5 | Burns and fumes while soldering | Bench soldering with fume extraction, iron always returned to its stand, safety glasses worn | Administrative and PPE
R6 | Cuts while trimming printed parts | Cutting on a mat away from the body, with a fresh blade and cut-resistant glove | Administrative and PPE
Hierarchy of control
Elimination is not available here, since the hazard is the moving rotor the system exists to turn. Every risk is therefore pushed as far up the hierarchy as the design allows, which is isolation for R1 and engineering controls for R2 to R4. Only the workshop hazards fall back to administrative controls and personal protective equipment.

## Slide 17
Building the system
CRITERION 4 | IMPLEMENTING PROCESSES AND TOOLS
VCE Systems Engineering | School-assessed Task
17
1
Production processes
Gears, hub, blades and housing printed in PLA at 40 per cent infill, gears printed flat so the layer lines run across the tooth face
Shaft cut and deburred on the lathe, then bearing seats reamed to an 8 mm slip fit
Tower tube drilled and bolted to the plywood base plate through the drill press
Controller assembled on protoboard, soldered joint by joint and continuity checked before power is applied
Subsystems bolted to the base plate with M4 hardware, so any one of them can be removed on its own
2
Tools and OHS compliance
Printer enclosure kept shut while the hot end is above 60 °C
Lathe and drill press used with guards fitted, long hair tied back, no gloves near rotating tooling
Soldering done with fume extraction running and safety glasses on
A current-limited bench supply used for every electronics test, so a wiring fault trips the limit instead of heating the board
Every session logged with the hazards present and the controls used, as planned in Criterion 3
3
Risk management in practice
First pinion print stripped under load, so the second was printed at 60 per cent infill with three perimeters
Gear mesh ran noisy until the centre distance was corrected by 0.4 mm, which also removed a vibration felt in the tower
A wiring short during bench testing tripped the supply's current limit rather than damaging the board, which is exactly what the control was for
Build stages photographed as evidence of safe practice and to support the modification log

## Slide 18
Testing against the evaluation criteria
CRITERION 5 | REALISATION OF THE SYSTEM
VCE Systems Engineering | School-assessed Task
18
# | Target | Method | Result | Status
EC1 | 12 V or more at 6 m/s | Bus voltage measured while the rotor was driven at 478 rpm on the bench | 12.6 V open circuit | Met
EC2 | Step-up ratio 2.4 : 1 | Optical tachometer on both shafts, ten runs averaged | 2.37 : 1, which is 1.3 per cent low | Met
EC3 | Three output paths switch | Bus voltage swept from 10 V to 15 V, path carrying current logged at each step | All three paths switched on demand | Met
EC4 | Charging stops at 14.4 V | Bench supply on the sense input, thresholds recorded | Stopped at 14.35 V, resumed at 13.2 V | Met
EC5 | Guarded and fused | Guard inspection against the risk register, plus a fuse and continuity check | Housing closed, 3 A fuse fitted, no conductor above 24 V | Met
EC6 | $180 or under | Final materials list summed against receipts | $155 | Met
EC7 | 70 per cent recyclable | Materials list audited by material type | 75 per cent of lines recyclable or reusable | Met
EC1 | Output in real wind | Log output on site across a week of varying conditions | Bench only so far, no site data yet | Outstanding
EC5 | Survives sustained gusts | Run through a full storm cycle and re-inspect the mount | One 40 minute run completed, longer runs pending | Partial
Chart: Bus voltage against rotor speed
| 100 | 200 | 300 | 400 | 480 | 560
Predicted | 2.6 | 5.3 | 7.9 | 10.6 | 12.7 | 14.8
Measured on the bench | 2.2 | 4.9 | 7.4 | 10.1 | 12.6 | 14.2
What the data shows
Measured voltage tracks the prediction closely and falls only about 4 per cent short across the range, which is consistent with the gear mesh loss measured in EC2. The system clears the 12 V target at the design speed with margin.

## Slide 19
Evaluation, modifications and recommendations
CRITERION 5 | REALISATION OF THE SYSTEM
VCE Systems Engineering | School-assessed Task
19
1
What the system achieves
Produces 12.6 V at the design wind speed, clearing EC1 with margin
The gear train delivers the ratio it was designed for, within 1.3 per cent
The controller switches all three output paths without a person present, which is the requirement the brief turns on
Built for $155 from parts that are 75 per cent recyclable
2
Modifications made and why
Pinion reprinted at 60 per cent infill after the first one stripped under load
Gear centre distance corrected by 0.4 mm, which cut both the mesh noise and the vibration in the tower
Heatsink added to the dump-load resistor after it reached 90 °C in a sustained shed test
Sense divider changed from 47 kΩ to 68 kΩ so the controller input keeps headroom at a 20 V bus
3
What is still outstanding
No site data yet: everything so far has been driven on the bench rather than by wind
Long-duration gust testing incomplete, so bearing and mount wear is unproven
No weather sealing on the controller enclosure, which the outdoor context requires
4
Recommendations
Log a full week of site output before claiming EC1 in real conditions
Fit a gasket and cable gland to the controller box, then repeat the ingress check
Print the next pinion in a tougher filament and compare tooth wear against PLA
Add a small display so the household can see which path is active, which would make the control loop visible to the user
Conclusion: all seven evaluation criteria are met on bench evidence, and two of them still need confirming in real wind. The concept holds up: a printed gear train and a low-cost controller can make small-scale wind generation both useful and safe.

## Slide 20
References (APA 7th edition)
REFERENCES
VCE Systems Engineering | School-assessed Task
20
Betz, A. (1966). Introduction to the theory of flow machines. Pergamon Press.
Budynas, R. G., & Nisbett, J. K. (2020). Shigley's mechanical engineering design (11th ed.). McGraw-Hill Education.
Bureau of Meteorology. (2024). Climate data online: Mean wind speed. Australian Government. http://www.bom.gov.au/climate/data/
Clean Energy Council. (2024). Clean energy Australia report 2024. https://www.cleanenergycouncil.org.au/resources/resources-hub/clean-energy-australia-report
Department of Climate Change, Energy, the Environment and Water. (2024). Australian energy update 2024. Australian Government. https://www.energy.gov.au/publications/australian-energy-update-2024
Hau, E. (2013). Wind turbines: Fundamentals, technologies, application, economics (3rd ed.). Springer.
Manwell, J. F., McGowan, J. G., & Rogers, A. L. (2009). Wind energy explained: Theory, design and application (2nd ed.). John Wiley & Sons.
Safe Work Australia. (2020). Model code of practice: How to manage work health and safety risks. https://www.safeworkaustralia.gov.au/doc/model-code-practice-how-manage-work-health-and-safety-risks
Standards Australia. (2018). AS/NZS 3000:2018 Electrical installations (known as the Australian/New Zealand wiring rules). Standards Australia.
Victorian Curriculum and Assessment Authority. (n.d.). VCE Systems Engineering. https://www.vcaa.vic.edu.au/curriculum/vce/vce-study-designs/systemsengineering/Pages/Index.aspx